**P43**

**P43-Transducer of 3-Phase Power Network Parameters**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Product Code** | **P43-** | **X** | **X** | **X** | **XX** | **X** |
| **Current Input (In)** | 1 A (X/ 1) | 1 |  |  |  |  |
| 5 A (X/ 5) | 2 |  |  |  |  |
| **Voltage Input (Phase/ Phase - to - Phase) Un** | 3 x 57.7/ 100 V |  | 1 |  |  |  |
| 3 x 230/ 400 V |  | 2 |  |  |  |
| **Supply Voltage** | 85 ... 253 V AC/ DC |  |  | 1 |  |  |
| 20 ... 40 V AC/ DC |  |  | 2 | 00 |  |
| **Kind of Execution** | Standard |  |  |  |
| Custom-Made |  |  |  | XX |  |
| **Acceptance Tests** | Without Extra Quality Requirements |  |  |  |  | 8 |
| With an Extra Quality Inspection Certificate |  |  |  |  | 7 |
| Acc. to Customer’s Requirements\* |  |  |  |  | X |

**Commonly used Ranges for P43-**

|  |  |
| --- | --- |
| P43 111200U0 | Inp: 1A & 100V AC; Aux: 85-253VAC/DC; O/P: 2x Analog & 2x Relay |
| P43 211200U0 | Inp: 5A & 100V AC; Aux: 85-253VAC/DC; O/P: 2x Analog & 2x Relay |
| P43 111300U0 | Inp: 1A & 100V AC; Aux: 85-253VAC/DC; O/P: 4x Analog |
| P43 211300U0 | Inp: 5A & 100V AC; Aux: 85-253VAC/DC; O/P: 4x Analog |