**SQ 94**

**SQ94- Electronic Synchroscope (96)**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Product Code** | **SQ94-** | **X** | **XX** | **X** | **X** | **X** | **X** | **XX** | **XXXX** |
| **Input type** | Voltage Meter | V |  |  |  |  |  |  |  |
| **Measuring range** | Input |  | XX |  |  |  |  |  |  |
| **Front facia** | Normal glass |  |  | N |  |  |  |  |  |
| Antiglare glass |  |  | A |  |  |  |  |  |
| Polycarbonate glass |  |  | P |  |  |  |  |  |
| **Cover** | PC terminal cover white. |  |  |  | W |  |  |  |  |
| PC terminal cover black |  |  |  | T |  |  |  |  |
| **Type of dial**  | Standard Aluminum |  |  |  |  | A |  |  |  |
| **Background** | White Background |  |  |  |  |  | W |  |  |
| **Customer Code** | Sifam Tinsley |  |  |  |  |  |  | ST |  |
| **Version** | Standard |  |  |  |  |  |  |  | 0000 |

**Table A for Measuring Input (Voltage Meter)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Input Voltage** | **Code** | **Input Voltage** | **Code** | **Input Voltage** | **Code** |
| 100V-120V | 1 | 400V | 8 | 120V | 15 |
| 100V-127V | 2 | 415V-415V | 9 | 100V | 16 |
| 110V-100V | 3 | 440V-380V | 10 | 110V | 17 |
| 127V-120V | 4 | 440V-440V | 11 | 500V | 18 |
| 240V-220V | 5 | 480V-415V | 12 | 380V | 19 |
| 380V-415V | 6 | 57.8V | 13 | 220V | 20 |
| 380V-440V | 7 | 63.5V | 14 |  |  |