**RE72**

**RE72 - Advance Series Single channel Temperature Controller (48X48)**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Product Code** | **RE72-** | **X** | **X** | **X** | **X** | **XX** | **X** | **X** |
| **Output 1** | Relay | 1 |  |  |  |  |  |  |
| Voltage: 0/5 V | 2 |  |  |  |  |  |  |
| Continuous Current: 0/4 ... 20 mA | 3 |  |  |  |  |  |  |
| Continuous Voltage: 0 ... 10 V | 4 |  |  |  |  |  |  |
| **Output 2** | Relay1 |  | 1 |  |  |  |  |  |
| Voltage: 0/5 V |  | 2 |  |  |  |  |  |
| Continuous Current: 0/4 ... 20 mA |  | 3 |  |  |  |  |  |
| Continuous Voltage: 0 ... 10 V |  | 4 |  |  |  |  |  |
| **Options** | None |  |  | 0 |  |  |  |  |
| Output 3 - Relay |  |  | 1 |  |  |  |  |
| Binary Input |  |  | 2 |  |  |  |  |
| Current Transformer Input1 |  |  | 3 |  |  |  |  |
| Additional Current Input: 0/4 ... 20 mA |  |  | 4 |  |  |  |  |
| Transducer Supply: 24 V DC 1 W 5 |  |  | 5 |  |  |  |  |
| **Supply** | 85 ... 253 V AC/ DC |  |  |  | 1 |  |  |  |
| 20 ... 40 V AC/ DC |  |  |  | 2 |  |  |  |
| **Version** | Standard |  |  |  |  | 00 |  |  |
| Custom-Made2 |  |  |  |  | XX |  |  |
| **Language Version** | English |  |  |  |  |  | U |  |
| Other2 |  |  |  |  |  | X | 8 |
| **Acceptance Tests** | Without Extra Quality Requirements |  |  |  |  |  |  |
| With an Extra Quality Inspection Certificate |  |  |  |  |  |  | 7 |
| According to Customer’S Request2 |  |  |  |  |  |  | X |

1. Only when a relay or voltage output 0/5V is also selected.
2. After agreeing with the manufacturer.