**P30P**

**P30P- 1 Phase AC Transducer**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Product Code** | **P30P-** | **X** | **X** | **X** | **X** | **X** | **X** | **XXXXX** | **X** | **X** |
| **Inputs** | Voltage 100 V, Current 1/5 A | 1 |  |  |  |  |  |  |  |  |
| Voltage 230 V, Current 1/5 A | 2 |  |  |  |  |  |  |  |  |
| **Analog Output Out1** | Current (0/4...20 Ma) 1 | | 1 |  |  |  |  |  |  |  |
| Voltage (0...10 V) | | 2 |  |  |  |  |  |  |  |
| **Additional Equipment** | Without | | | 0 |  |  |  |  |  |  |
| With External Sd/Sdhc Card | | | 1 |  |  |  |  |  |  |
| With Ethernet Interface And Archive File System Memo | | | 2 |  |  |  |  |  |  |
| **Output Out 2** | Relay A1, 5A 30V D.C., 250V A.C. | | | | 1 |  |  |  |  |  |
| Analog Current Output (0/4...20 Ma) | | | | 2 |  |  |  |  |  |
| Analog Voltage Output (0...10) | | | | 3 |  |  |  |  |  |
| **Output Out 3** | Relay A2, 5A 30V D.C., 250V A.C. | | | | | 1 |  |  |  |  |
| Power Output 24 V D.C. / 30Ma | | | | | 2 |  |  |  |  |
| **Supply** | 85...253 V A.C., 85...300 V D.C. | | | | | | 1 |  |  |  |
| 20...40 V A.C., 20...60 V D.C | | | | | | 2 |  |  |  |
| **Version** | Standard | | | | | | | 00000 |  |  |
| Custom-Made\* | | | | | | | XX |  |  |
| **Language** | English | | | | | | | | U |  |
| Other\* | | | | | | | | X |  |
| **Acceptance Tests** | Without Extra Requirements | | | | | | | |  | 0 |
| With An Extra Quality Inspection Certificate | | | | | | |  |  | 1 |
| Acc.To Costumer's Request | | | | | | |  |  | X |

\* after agreeing with the manufacture

**Commonly Used Ranges for P30P-**

|  |  |
| --- | --- |
| P30P 21011100U0 | Inp: 230V & 1/5A; O/P1: 4-20mA; Addl Equip: Lack; O/P2: Relay; O/P3: Relay; Aux: 85-253VAC/DC |
| P30P 21021100U0 | Inp: 230V & 1/5A; O/P1: 4-20mA; Addl Equip: Lack; O/P2: 4-20mA; O/P3: Relay; Aux: 85-253VAC/DC |
| P30P 21121100U0 | Inp: 230V & 1/5A; O/P1: 4-20mA; Addl Equip: SD Card Slot; O/P2: 4-20mA; O/P3: Relay; Aux: 85- 253VAC/DC |
| P30P 21221100U0 | Inp: 230V & 1/5A; O/P1: 4-20mA; Addl Equip: Internal Mem with ETH Port; O/P2: 4-20mA; O/P3: Relay; Aux: 85-253VAC/DC |