**RE92**

**RE92 - Advance Series Dual Channel Temperature Controller (96X96)**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Product Code** | **RE92-** | **X** | **X** | **X** | **X** | **X** | **XX** | **X** | **X** |
| **Input 3** | Current: 0/4 ... 20 mA | 1 |  |  |  |  |  |  |  |
| Voltage: 0 ... 5/ 10 V | 2 |  |  |  |  |  |  |  |
| Potentiometric Transmitter: 100/ 1000  Ω | 3 |  |  |  |  |  |  |  |
| **Output 1 And 2** | 2 Relays |  | 1 |  |  |  |  |  |  |
| 2 Binary Outputs 0/5 V |  | 2 |  |  |  |  |  |  |
| **Analog Outputs** | None |  |  | 0 |  |  |  |  |  |
| 2 Continuous 0/4 ... 20 mA and 0 ... 10 V |  |  | 1 |  |  |  |  |  |
| **Ethernet** | None |  |  |  | 0 |  |  |  |  |
| With Ethernet |  |  |  | 1 |  |  |  |  |
| **Transducer Supply** | None |  |  |  |  | 0 |  |  |  |
| 24 V DC |  |  |  |  | 1 |  |  |  |
| **Version** | Standard |  |  |  |  |  | 00 |  |  |
| Custom-Made\* |  |  |  |  |  | XX |  |  |
| **Language** | English |  |  |  |  |  |  | U |  |
| Other\* |  |  |  |  |  |  | X |  |
| **Additional Quality Requirements** | Without Additional Quality Requirements |  |  |  |  |  |  |  | 0 |
| With an Extra Inspection Quality Certificate |  |  |  |  |  |  |  | 1 |
| Acc. to Customer’s Request\* |  |  |  |  |  |  |  | X |

\*After agreeing with manufacturer